KAZAN STATE MEDICAL UNIVERSITY

Faculty of  Dentistry

Department of Therapeutic  Dentistry

Propaedeutics therapeutic dentistry

1.  Which of the following actions can not be performed turbine tip?

1) Disclosure of cavities

2) Treatment of root canals rotating tools*

3) The formation of the pulp chamber wall

4) Disclosure of the pulp chamber

5) Excision coronal pulp

2.  Dissecting  the  doctor  used  a  cylindrical  diamond  boron,  preparation  was  conducted  at  300 thousand vol. / Min . Indicate the type of tip you use a doctor.

1) Direct

2) turbine*

3) angular

4) endodontic

5) Scaler

3.  Dissecting  the  doctor  used  a  cylindrical  diamond  boron,  preparation  was conducted  at  300 thousand vol. / Min . Specify the type of drive dental unit with which dissection was performed .

1) hard sleeve

2) air*

3) electric micromotor

4) All answers are correct

4. What is the rotational speed of boron provides micromotor handpiece with 1:1 gear ?

1) 10-10 000 rev . / Min.

2) 1000-40 000 rev . / Min* .

3) 5000-230 000 rev . / Min .

4) 100 000-350 000 vol. / Min .

5. Specify the maximum speed of the tool in endodontic tip ?

1) 000 1.10 vol. / Min*.

2) 1000-40 000 rev . / Min .

3) 5000-230 000 rev . / Min .

4) 100 000-350 000 vol. / Min .

6. Select a tool with which you can keep cotton turunda for antiseptic treatment of cavities .

1) mirror

2) excavator

3) tweezers*

4) trowel

5) plugger

7. Call tool for oral examination and dentition .

1) spatula

2) trowel

3) mirror*

4) plugger

5) tweezers

8. Call tool to make filling material in a cavity .

1) spatula

2) trowel*

3) probe

4) plugger

5) excavator

9. Call tool for determining pathologic tooth mobility .

1) excavator

2) trowel

3) probe

4) plugger

5) tweezers*

10. There is a chronic middle caries 37. As a filling material was elected silver amalgam . Which tool should be used for the condensation of this material :

1) Amalgamtrege*

2) plugger-trowel

3) sickle trowel

4) plugger

5) Excavator

11. During treatment, the doctor used a diamond burs with green markings. Indicate which of these grain hog .

1) normal

2) rough*

3) thin

4) Superstability

5) hyperfine

12. What is the name of the system for securing boron in the angular tip ?

1) catch*

2) clip

3) Locking

4) collet

5) castle

13. What is the name of the system for securing boron handpiece ?

1) catch

2) clip

3) Locking

4) collet*

5) castle

14. Specify what material manufactured working part carbide burs .

1) steel

2) diamond

3) tungsten carbide*

4) ceramics

5) silicone

15. What are stem diameter drills for turbine handpiece ?

1) 1 mm

2) 1.6mm*

3) 2 0 mm

4) 2.35 mm

5) 2.5mm

16. What length are for handpiece burs ?

1) 17 mm

2) 20 mm

3) 22 mm

4) 27 mm

5) 44 mm*

17. There was performed  endodontic  treatment  of  tooth  11  .  During the  treatment  , along with other tools used spreader doctor . What is the purpose spreader ?

1) Vertical condensation of gutta-percha

2) Lateral condensation of gutta-percha*

3) Making the filling material

4) Drying root canals

5) Passage of root canals

18.  Which  tool  is  designed  to expand the mouths of root canals of  tooth  46?

1) smooth broach

2) Kanalonapolnitel

3) Pulpekstraktor

4) Example K

5) piezo Example*

19.  Which  tool  is  designed  to remove the soft contents of the root canal of  tooth  46?

1) smooth broach

2) Kanalonapolnitel

3) Pulpekstraktor*

4) Example K

5) piezo Example

20. The tools for opening the pulp cavity and root canal orifices search include:

1) Bory, endobory , endodontic excavators, endozondy*

2) Gates-glidden drills , reamers Largo , verifery

3) K-reamers , K-flex, fleksorimery

4) Paper points , endodontic syringes and cannulas

5) Ni-Ti-Flex files flekstrem , ergofleks

21. Dental handpieces after work with the patient decontaminated by treating them with disinfectant solution ( 2 one-time intervals of 15 min)

1) Aerodezin*

2) Septoderm

3) Chloramine 3%

4) Bleach 1%

5) 3% hydrogen peroxide

22. In the dental office after work shift on a sterile table have unused tools . What measures must be undertaken for the sterility of dental instruments ?

1) Sterilization without pretreatment*.

2) Disinfection , sterilization.

3) Disinfection, cleaning , sterilization.

4) Presterilization cleaning , sterilization.

5) Only disinfection ..

23. Call endodontic instrument that should be taken to expand tof the root canal.

1) K-Reamer

2) K-Fife

3) Gates Glidden*

4) H-File

5) Spreder

24.  What is the shelf life of the material after sterilization ?

1) Not more than 3 days*

2) Not more than a day

3) 48 hours

4) Not more than 7 hours

5) Not more than a month

25  .  In  the  therapeutic  dental  office  at  the  end  of  each  patient  receiving  disinfecting  tips.  What processing is performed at the same time ?

1) Disinfection*

2) predsterilizatsionnoy processing and disinfection

3) Sterilization

4) Disinfection predsterilizatsiya , sterilization

5) predsterilizatsionnoy processing , sterilization

26. To the dentist was HIV-infected patients. What drug can be used for disinfection of hog after taking this patient?

1) 6 % solution of hydrogen peroxide*

2) 3 % solution of hydrogen peroxide

3) Pp furatsillina 1:5000

4) 96 ° ethanol

5) 1 % solution of bleach

27.  To  the  dentist  was  HIV-infected  patients.  How  should  be  done  with rubber gloves after receiving an HIV-infected patient?

1) Immerse in a disinfectant , dispose or autoclaved*

2) Dispose

3) Autoclave

4) Edit 3 % solution of hydrogen peroxide rum

5) Treat with 70% ethanol

28. Than is necessary to process the waste material from the spittoon after admission the patient?

1) 3% solution of chlorine bleach*

2) The solution 1:5000 furatsilina

3) 0.5 % hydrogen peroxide

4) Alcohol 70 %

5) 5 % alcoholic solution of iodine

29.  In  order  to  reduce  microbial  contamination  of  work  surfaces  and air  in  a  private  dental  office use germicidal UV lamp . Which mode kvartsevaniya necessary to carry out ?

1) quartz 30 minutes for half an hour before the start of*

2) quartz at the end of the working day

3) quartz 10 minutes at the beginning of the working day

4) QUARTZ 30 minutes once a week 1

5) quartz 10 minutes after administration of each patient

30 . What quality control sample is held presterilization cleaning dental instruments for blood ?

1) azopiramovaya or amidopirinovaya trial*

2) phenolphthalein sample

3) benzidine trial

4) formalin trial

5) Schiller-Pisarev

31. What quality control sample is held presterilization cleaning dental instruments for the presence of residual amounts of alkaline detergent components ?

1) azopiramovaya or amidopirinovaya trial

2) phenolphthalein sample*

3) benzidine trial

4) formalin trial

5) Schiller-Pisarev

32. On certification dentist was asked about the sterilization of dental instruments in a hot air oven . Specify the mode of sterilization appropriate sanitary and epidemiological requirements ?

1) 60 min 1600 C

2) 60 min , 1800*

3) 50 min , 1700 C.

4) 60 min , 1500

5) 60 min 2000 C

33.  What  method  of  disinfecting  dental  handpiece  You  elect  ,  if  the  instructions  for  its  use  no guidance ?

1) dry-air method

2) UV box

3) in an ultrasonic cleaning bath

4) boiling sterilizer for 45 minutes at 1000

5) cold sterilization method using certified sterilyantov*

34. Which way is sterilized dental mirror ?

1) The chemical method*

2) Air Method

3) The steam method

4) Boiling

5) Kvartsevanie

35  .  How  is  a  system  of  notation  of  teeth  in  the  dentition  ,  in  which  baby  teeth  are  designated  by Roman numerals , and permanent teeth-Arabic numerals ?

1) sistema Zsigmond Palmera*

2) sistema Viola

3) sistema ADA

36. Found that dentin formed lifelong tooth. As called dentin arising in the development process of the tooth ?

1) primary*

2) secondary

3) tertiary

4) scleroid

5) predentin

37. Found that dentin formed lifelong tooth. As called dentin, is deposited over the life of a person as a result of the pulp ?

1) primary

2) secondary*

3) tertiary

4) vicarious

5) predentin

38. What signs of optical thin section appears on adult tooth enamel prisms layering mineralization during emalogeneza ?

1) enamel spindles

2) lines Retzius*

3) enamel plates

4) strip Schroeger

5) enamel tufts

39. During the oral examination of the patient found carious defect linear form circularly covering 23  tooth  directly  above  the  gingival  margin.  What  is  the  anatomical  name  decayed  portion  of  the tooth ?

1) okolodesnevoy plot

2) intermediate portion

3) dividing line

4) Supragingival line

5) neck of the tooth*

40 . Chemical analysis showed that the calcified tissue studied is composed of 95 % of inorganic , organic substances 1.2% and 3.8 % water. What human tissue can be formulated ?

1) tooth enamel*

2) dentin

3) cement

4) cancellous bone of the alveolar process

5) tubular bone

41. As part of the tooth is called , located in the alveoli and covered with cement ?

1) dental post

2) tooth root*

3) articular process

4) Leg tooth

5) alveolar bone

42. What do you call a full set of teeth located next combined into one functional unit ?

1) dental arch*

2) A dental arch

3) tooth triangle

4) dental family

5) dental department

43.    In  the  tooth of 16  detected  cavities. For  sealing  the doctor  chose  metallic  filling  material-silver  amalgam  .  Dissection  of  the  cavity  produced  by  the method of Black. Indicate which of the tooth area is immune ?

1) knolls*

2) fissures

3) interproximal surfaces

4) cervical area

44.  On  histological  preparation  of  sagittal  section  of  the  mandible  3.5  month human  fetal  enamel organ   epithelium   surrounded   by   mesenchymal   cells arranged   compactly. As   it   is   called mesenchymal education?

1) dental papilla

2) A dental sac*

3) outer enamel cells

4) internal enamel cells

5) pulp enamel organ

45.  During  embryogenesis,  the  development  of  the  oral  cavity  was  broken  tooth enamel.  What  is the source of development has been damaged ?

1) epithelium*

2) mesenchyme

3) mesoderm

4) dental sac

5) dental papilla

46. Which tooth tissue cells contain odontoblasts ?

1) enamel

2) dentin

3) cement

4) pulp*

5) periodontal

47. What do you call natural depressions on the chewing surfaces of molars ?

1) blind holes

2) blind holes

3) crack

4) impressions

5) fissures*

48. What name are elevated areas chewing surfaces of molars ?

1) tuberosity

2) elevation

3) tubercles*

4) processes

5) projections

49. Which anatomical term used to denote the internal tooth space ?

1) vnutrizubnoy department

2) sinus tooth

3) vnutrizubnaya gap

4) tooth niche

5) tooth cavity*

50 . What term refers to the anatomical part of the tooth is the alveoli ?

1) royal crown

2) head tooth

3) crown*

4) tooth body

5) tip of the tooth

51.  In  the  study  of  dentin  optical  microscope  revealed collagen  fibers  having  mainly  tangential direction . What dentin layer is characterized by such features ?

1) surface area

2)  mantle dentin

3) vasodentin*

4) interglobular dentin

5) secondary dentin

52. In describing what the tooth may use the expression "tearing the hill" ?

1) first tool

2) second incisor

3) fang*

4) premolar

5) molar

53.  Common  clinical  dental  formula  is  the  formula  proposed  by  the  WHO  .  How  digital  index  in this formula denotes the third right mandibular molar ?

1) 53

2)  33

3) 18

4) 48*

5) 26

54. Dentinogenesis is a function of the pulp. In what period of her life, she has this ability?

1) during embryonic development

2) the first 6 months . life

3) to 7-14 years

4) physiological change to the period of occlusion

5) life*

55 . Which premolar has a much less pronounced lingual tubercle compared with buccal cusp ?

1) 24

2) 25

3) 15

4) 45

5) 34*

56. Which of the premolars often has the opposite sign of the curvature of the crown?

1) 14*

2) 15

3) 34

4) 44

5) 35

57. What is the name of the second premolars have ?

1) Dentes incisive

2) Dentes bicuspidati*

3) Dentes canini

4) Dentes multicuspidati

5) Dentes infantiles

58. How many bumps on the chewing surfaces of the upper jaw are premolars ?

1) 1

2) 2*

3) 3

4) 4

5) 5

59. What tubercle on the occlusal surface of the first upper premolar is more pronounced?

1) mesial

2) distal

3) buccal*

4) lingual

5)  palatal

60  .  In  elderly  people  ,  as  well  as  dental  caries  ,  there  are  portions  of  dentin  ,  in  which  inorganic salts  are  deposited  in  the  base  material  and  the  dentinal tubules  occurs  obliteration  of  dentinal tubules  .  Due  to  impregnation  with  calcium salts  refractive  indices  of  light  tubules  and  the  basic substance of dentine aligned . What do you call a dentin ?

1) predentin

2) vasodentin

3) secondary dentin

4) mantle dentin

5) Transparent or scleroid dentin*

61. Write a formula of hydroxyapatite

1) Sa8 ( PO2 ) 4ON

2) CA6 ( PO2 ) 2OH

3) CA4 ( PO2 ) 2OH

4) Ca10 (PO4) 6 (OH ) 2*

5) Ca2 ( PO4 ) 6 ( OH) 2

62. In which of the following teeth ratio of height to crown root length 1:3 ?

1) 22

2) 11

3) 13*

4) 32

5) 41

63. How many horns pulp and root canal is the central incisor of the upper jaw ?

1) 1 pulp horn and one root canal

2) 1 pulp horn and two root canals

3) 2 pulp horns and one root canal

4) 3 pulp horns and one root canal*

5) 3 pulp horns and two root canals

64. What shape has a canine tooth cavity of the upper jaw ?

1) circular shape

2) ellipsoidal shape

3) spindle-shaped*

4) square shape

5) trapezoidal

65 . Specify the largest group of tooth cutters .

1) 12

2) 21*

3) 41

4) 32

5) 22

66. Patients underwent surgical treatment of cavities 3 class. What is the difference between cavities 2 and 3 class?

1) depth of lesion

2) affected surface

3) functional group of teeth*

4) relation with the pulp chamber

5) overwhelmed layers of dentin

67. Which element of the cavity is absent in the cavity 1 class in the molar fissures ?

1) medial wall

2) vestibular wall

3) oral wall

4) pridesnevaya wall*

5) distal wall

68. Specify the defining characteristic element cavity , called the bottom ?

1) wall that is perpendicular to the longitudinal axis of the tooth

2) wall facing the alveolar process

3) wall facing the pulp chamber*

4) wall parallel to the longitudinal axis of the tooth

5) bottom wall of the cavity

69. Dentist treats secondary  caries in tooth 46 (V class on  Blake ) in men 36  years.  How  a doctor can improve retention seals in this case?

1) Create a slight convergence of the cavity walls*

2) Enter parapulparnye pins

3) Use high-strength material

4) Create enamel bevel

70 .  36 tooth found carious  cavity  medium  depth  with  localization  in  the  cervical  area  of the  interproximal-medial surface . What kind of access at preparing the cavity is the most rational ?

1) The vestibular or lingual access*

2) Direct access

3) occlusal access with excision edge ridge

4) Occlusal access while preserving edges crest

5) Tunnel preparation

71. Which tool should be used to form the wall cavity pridesnevoy 2 class?

1) conical burr

2) spherical boron

3) excavator

4) enamel knife

5) back-cone pine forest*

72.  .  On  examination,found that the crown 11 significantly destroyed . History of 11 depulpirovat . Select the most appropriate in this situation a way of fixing the seal.

1) Parapulparny pin

2) Additional area

3) Retention groove

4) intracanal pin*

5) strongpoints

73.  The examination of the oral cavity in the cervical area of the tooth 45 deep carious cavity. What shape should form the bottom cavity in this case?

1) flat

2) protuberant*

3) concave

4) step

5) oblique

74. Who proposed a method of "biological expediency" in the treatment of dental caries?

1) Fusayama T.

2) Taco Pilot

3) Black

4) Lukomskii IG*

5) Weiss SI

75  .  There are  deep  carious  cavity of  tooth 36. Diagnosis: chronic deep caries . Which class by Black relates this carious cavity ?

1) 4

2) 3

3) 1*

4) 2

5) 5

76. Teeth  16 , 17, 26  fillings  on  the  chewing  surfaces  of  seals  around  the  recurrence  of  caries.  What  method  of preparation of cavities prevents recurrence of caries ?

1) The method of " preventive expansion" by Black*

2) The method of " biological expediency" by Lukomsky

3) Formation by Borowski

4) It does not matter

77. What stage of treatment should be taken before preparation cavity Class 5 according to Black ?

1) Separation of teeth

2) gingival retraction*

3) Selective prishlifovyvanie

4) Turning off from contact with the tooth adjacent teeth

5) Overlay Medicated Pads

78. In preparing the cavity under the tab complex configuration sidewalls need to dissect:

1) An obtuse angle to the bottom

2) slightly converging

3) The angle does not matter

4) At right angles to the bottom*

5) slightly diverging

79.   In  16  found  carious  cavity on  the  chewing surface.  For  sealing  the  doctor  chose metallic  filling  material-silver  amalgam  .  Dissection  of  the cavity produced by the method of Blake. Specify what is this method of preparation ?

1) Excision of the affected tissues and gentle attitude toward unaffected tissues

2) Wide excision of caries susceptible areas*

3) Dissection within dense pigmented dentin

4) Partial cavity preparation

80 . On  the  chewing  surface  of  the  tooth  46  found  two  cavities  separated  by  a  layer  of  healthy  enamel thickness greater than 1 mm. What method is necessary to dissect a cavity .

1) Combining the cavity oval

2) By combining a rectangular cavity

3) separately each*

4) With the formation of additional site

5) By combining in a triangular shaped cavity

81.   On  the  chewing  surface  36  found  deep  carious  cavity. Angle at which the bottom of the cavity is necessary   to form the side walls for a permanent filling material amalgam

1) 70 °

2) 130 °

3) 100 ° C.

4) 110 ° C.

5) 90 °*

82.  There is acute deep caries 16. What access when opening cavity should hold in this case?

1) direct

2) occlusal*

3) Vestibular or lingual

4) tunnel

5) gingival

83. There is  acute middle caries 25.  In dentition missing 26 and 16 teeth. Why should the tooth cavity to produce the disclosure in this case?

1) chewing

2) vestibular

3) lingual

4) distal*

5) medial

84. There is acute middle caries 25 of  the  medial  side .  In dentition missing 26 and 16 teeth. What wall need for use for disclosure in this case?

1) chewing*

2) vestibular

3) lingual

4) distal

5) medial

85. There is acute middle caries  34 in the cervical area. What access when opening cavity should hold in this case?

1) direct

2) occlusal

3) vestibular*

4) lingual

5) gingival

86. There is Chronic middle caries 14 .What access when opening cavity should hold in this case?

1) direct

2) occlusal

3) vestibular

4) lingual

5) gingival*

87. Which instrument should be Finishing edges enamel cavity ?

1) 6-sided carbide boron

2) 12-sided boron carbide

3) 32-sided boron carbide*

4) Diamond burr with green markings

5) boron steel

88. There is Chronic middle caries 26, class 2 according to Black . Disclosure cavity produced occlusal access. How much you should have additional playground ?

1) Within enamel

2) Until amelodentinal border

3) 0.5 mm below the enamel-dentin border

4) 1 mm below the enamel-dentin border*

5) 1.5 mm below the enamel-dentin border

89. There is Chronic middle caries 26, class 2 according to Black .  What angle should be between the bottom of the main cavity and an additional platform ?

1) 30

2) 70

3) 90*

4) 120

90. There is carious cavity  on the distal surface of 22 tooth . For sealing the doctor chose light-cured composite material . What enamel bevel on the vestibular surface should be formed in this case?

1) bevel is not needed

2) 0.5mm

3) 1 mm

4) 2 mm*

50 5 mm

91. There is carious cavity  on the distal surface of 32 tooth . For sealing the doctor chose light-cured composite material . What angle formed bevel enamel ?

1) 0

2) 15

3) 30

4) 45*

5) 90

92.  What  is  the  minimum  degree  of  expansion  of  preventive  cavity  2  class  in  bucco-lingual direction?

1) 0.2mm

2) 0.5mm*

3) 1 mm

4) 1.5mm

93. There is a chronic  middle  caries  46  carious cavity  1  class according to Black . What is the criterion for the correct execution of the disclosure and expanding cavity 1 class?

1) Completely removed and pigmented softened dentin, dentin surface is solid, bright , shiny

2) Straight cavity wall , relative to the bottom at an angle of 90

3) Smooth edge of the cavity, without chipping, polished enamel surface to an angle of 45

4) Completely removed enamel, not having under a dentin inlet commensurate bottom cavity*

94.  There is a chronic  middle  caries  46  carious  cavity  1  class according  to  Black  .  What  is  the  criterion  of  correct  execution  necrectomy  cavity  1  class  with  an average caries ?

1) Straight cavity wall, relative to the bottom at an angle of 90

2) Smooth edge of the cavity, without chipping, polished enamel surface to an angle of 45

3) Completely removed and pigmented softened dentin, dentin surface is solid, bright,shiny*

4) Completely removed enamel, not having under a dentin inlet commensurate bott

om cavity

95.  There is a chronic  middle  caries  46  carious  cavity  1  class according to Black . What is the criterion correctly filled cavity formation step 1 class?

1) Completely removed and pigmented softened dentin, dentin surface is solid, bright , shiny

2) Straight cavity wall, relative to the bottom at an angle of 90*

3) Smooth edge of the cavity, without chipping, polished enamel surface to an angle of 45

4) Completely removed enamel, not having under a dentin inlet commensurate bottom cavity

96.  There is a chronic  middle  caries  46  carious  cavity  1  class according to Black . What boron should be used in step necrectomy ?

1) tapered

2) cylindrical

3) Obratnokonusny

4) globular*

5) rotate

97.  There is a chronic  middle  caries  46  carious  cavity  1  class according to Black . How boron can not be used during necrectomy ?

1) steel

2) carbide

3) diamond*

98. There is a chronic  middle  caries  46  carious  cavity  1  class according to Black . What drills should be used at the stage of formation of cavities ?

1) Obratnokonusny , rotate

2) Rotate, globular

3) Cylindrical, spherical

4)Tsilindrichesky , obratnokonusny*

5) Conical , spherical

99. There is an aesthetic  defect  on  the  front  teeth  of  the  upper  jaw  . Objectively:  12  ,  11,  21  ,  22  are  seals  on  approximal  surfaces  in  violation  of  a  cutting  edge  .  As classified by Blake such a defect of the tooth crown ?

1) class III

2) class V

3) 1 class

4) class IV*

5) class II

100. There are cavities of tooth 12 and 22, on the lingual surfaces . Which class to include data to Black cavity ?

1) class III

2) class V

3) class I*

4) IV class

5) class II

101. Specify the name of boron steel without incisions used for the treatment of amalgam fillings .

1) standard

2) polished*

3) Finir

4) diamond

5) carbide

102. What markings should have diamond burr grinding fillings?

1) black

2) green

3) red

4) yellow*

5) white

103. Dissection of tooth tissue which is unacceptable to hold a diamond bur ?

1) enamel

2) dentine*

3) Enamel and dentin

4) Enamel , dentin , cement

104. What is the color code for diamond bur-stage finishing the edges of cavities ?

1) black

2) green

3) red*

4) yellow

5) white

105. Specify the name of boron steel with small incisions used for the treatment of amalgam fillings.

1) standard

2) polished

3) Finir*

4) diamond

5) carbide

106.  Dentist-the  therapist  may  perform  work  competently  and  efficiently  ,  subject  to  availability nurses . What is the number of nurses in accordance with applicable law assigned to one unit staff therapist-dental clinic ?

1) 1 P 2 P nurses therapist-dentist*

2) 1 post of nurse practitioner positions 3-Dentist

3) 2 position 3 position nurse practitioner-a dentist

4) 2 on 1 position nurse practitioner positions-dentist

5) 1 P 1 nurse practitioner positions-dentist

107. Tooth  is  planned  to  cover  cast crown.  On  approximal  surface  of  this  tooth revealed cavities. What a filling material for permanent filling can offer in this case?

1) Amadent

2) cement*

3) copper amalgam

4) Gallodent

5) Silver amalgam

108.  When  working  with  modern  restorative  materials  used  sophisticated  chemical  compound component  adhesive  system  obtained  on  the  basis  of  alcohol  or  acetone  ,  which  provides  training for the hydrophilic dentin and composite connections . Name the compound .

1) primer*

2) COFFERDAM

3) adhesive

4) mordant

5) matrix

109.  At  preparing  carious  lesions  in  16  tooth  turned  cavity  type  MOD.  Which  of  the  following structures has the advantage of aesthetic restoration ?

1) Photopolymer tab*

2) Stamped metal crown

3) glass ionomer restoration

4) Amalgams

5) Metal-ceramic crown

110.  On  examination,  the  patient  revealed  carious  cavity  in  the  tooth  within  11  vasodentin  in violation of the angle and cutting edge . Which filling material you favor ?

1) Composite material curing type " pasta-Pasta"

2) silicate cement

3) Light-cured glass ionomer cement

4) Light cure composite material*

5) Composite material curing type " powder-liquid "

111. There is cavity in tooth 21. When filling cavity  for permanent seal was used mikrofilirovanny composite material. In his What is the advantage compared with makrofilled?

1) Short polymerization time

2) aesthetics seals*

3) Better ground and polished

4) Do not require adhesive systems

5) high strength

112. Specify mistakenly called a dentist indication for glass ionomer cements .

1) Filling wedge-shaped defects and erosions

2) Imposition of insulating spacers

3) Filling cavities III and V classes

4) Filling cavities of all classes in primary teeth

5) Filling cavities II and IV classes*

113.  Which  relates  single-generation  adhesive  systems  that  have  properties  of  both  primer  and adhesive ?

1) 1st generation

2) 5 generations*

3) 2nd generation

4) 4th Generation

5) 3rd Generation

114. Which class of composites chemical polymerization refers filling material Charisma (Kultser)?

1) compomer

2) Makrogibridny composite

3) Makrofilirovanny composite

4) Mikrofilirovanny composite

5) micro-hybrid composite*

115.  In  the  case  of  the  JRC  under  the  seal  of  his  compositional  etchant performed  only  when  a certain thickness of the gasket. What ?

1) Not more than 1 mm

2) Not less than 0.5 mm

3) From 0.5 to 1 mm

4) At least 1 mm*

5) 0.5 mm

116.  What  rational  use  of  restorative  material  for  the  restoration  of  cavities  4  class  by  Black  22 tooth ?

1) JRC

2) Makrogibridny composite

3) micro-hybrid composite

4) Totally made composite*

5) Makrofilny composite

117. Intensive decay polymerization initiator kamfarohinona present in photopolymer composites is influenced by light with optimum wavelength. What is the wavelength?

1) 500 nm

2) 470 nm*

3) 370 nm

4) 400 nm

5) 450 nm

118.  Components  of  glass  are  included  in  the  glass  ionomer  cements,  provide  different  material properties. Which part of the glass in the glass-ionomer cement composition gives transparency and reaction clutch ?

1) SiO2*

2) Al2O3

3) Ba, Sr

4) AlPO4

5) NaF

119. The components of the material : powder-ftoralyumosilikatnoe glass, liquid-polycarboxylic (polyacrylic acid) and water. Which material has a given structure?

1) Glass ionomer cement, resin-modified

2) Traditional glass ionomer cement*

3) compomer

4) composite material

5) Karbodent

120. When filling cavities Class 4-Clinical need for lamination technique . Which combination of filling materials should I use?

1)Glass ionomer-makrofilny composite

2) Makrogibridny-mikrofilny composite

3) Glass ionomer-mikrofilny composite

4) Glass ionomer-microhybrid composite

5) Makrofilny-mikrofilny Composites*

121. Which of the materials used as filler ?

1) gutta-percha points*

2) Apexit

3) Zinc oxide-eugenol cement

4) Sealaplex

5) Endometasone

122. There is a cavity on approximal tooth surfaces in 36, during fillings of cavity did not use a matrix. What are the possible complications?

1) Drop seals

2) Possible defective polymerization seals

3) Papillita development , and eventually localized periodontitis*

4) Seal overstates bite

5) Increased solubility of the seal under the action of saliva

123.  The  crown tooth of 22 significantly  destroyed. Of  history-22  tooth  depulpirovat  . Select the most appropriate in this situation a way of fixing the seal.

1) Parapulparny pin

2) Additional area

3) Retention groove

4) Vnutripulparny pin*

5) strongpoints

124.  To  increase  the  hardness  of  glass  ionomer  cements  ,  abrasion  resistance  ,  improved  strength, reduced  porosity  and  provide  a  radiopaque  composition  of  injected  particles  of  silver  and  other metals. What is the name of this group have the JRC ?

1) Ionokozity

2) cermets*

3) compomers

4) Ormocer ®

5) composites

125. During operation, light-cured composite material dentist used polimerizatsionnyyu lamp "Max" [Dentsplay]. What are the requirements to Curing lights ?

1) The wavelength of 400-500 nm , the light intensity of 200-300 mW/cm2

2) The wavelength of 300-400 nm , the light intensity of 200-300 mW/cm2

3) The wavelength of 300-400 nm , the light intensity of 300-400 mW/cm2

4) The wavelength of 400-500nm , the light intensity of 300-400 mW/cm2*

5) The wavelength , the light intensity irrelevant to the work

126. There is a chronic  fibrous  pulpitis  27  tooth.  During endodontic root canal treatment " step-bek " technique used doctor progressive rotation H-20 file size  ,  during  which  broke  the  instrument  in  the  root  canal  .  What  mistakes  made in  step  doctor endodontic root canal treatment in the treatment of tooth 27 ?

1) Treatment of 27 tooth does not require " step-bek " technique

2) The third step is not provided with a file-H

3) H-file is not used at all

4) Rotational-translational motion are not permitted*

5) Inappropriate size was selected H-File

127.  To  restore  a  significant  defect  class  II  by  Black  16 tooth  will  be  optimal  choices  of  glass-ionomer cement :

1) Ketac Molar (ESPE)*

2) Ketac Cem (ESPE)

3) Photac Fil (ESPE)

4) Letac Fil (ESPE)

5) Hytec (ESPE)

128.  When  restoring  a  defect  class  IV  according  to  Black  11  tooth  with  a  high  degree  of transparency to enhance the strength of the restoration should be used :

1) Parapulparnye pins

2) Basis of glass-ionomer cement

3) fiberglass pin*

4) Metal frame of wire klammernoy

5) Additional retention points at preparing

129. What is advisable to carry out etching dentin before filling glass ionomer cement?

1) Etilendiamintetrouksusnoy acid

2) orthophosphoric acid

3) citric acid

4) hydrogen peroxide

5) polyacrylic acid*

130  . What  phase  is  the  basis  of  the  first  generation  of  amalgams  ,  which  are  associated disadvantages: reduced strength, corrosion instability ?

1) Silver and mercury

2) Tin and silver

3) Tin and mercury*

4) Copper and silver

5) Copper and mercury

131. There is a chronic deep caries tooth 21 . For treating physician chose a light-cured material "Valux Plus". What medical pad you choose ?

1) Evgedent

2) Kariosan

3) Phosphate cement

4) Calcimol*

5) Visfat cement

132.  There is an  acute  middle  32  tooth  caries  .  For  treating physician chose a light-cured material " Charisma " . What insulating gasket you choose ?

1) Adgezor

2) Dioksivisfat

3) Base Line*

4) Phosphate cement

5) Unifas

133. Paper points are designed for:

1) Making the filling material

2) Root canal

3) Lateral condensation of gutta-percha

4) Drying root canals*

5) Passage of root canals

134. What is the weakest ingredient amalgam on the corrosion resistance and mechanical strength ?

1) γ-phase

2) γ2-phase*

3) γ1-phase

4) γ3-phase

5) γ4-phase

135.  There is a cavity of 21  tooth,   Class  IV  Blake,  medium  size  sensing,  cold  test  ,  painless.  Which of the following materials is most suitable in this situation?

1) compomer

2) Light-cured composite

3) Curing glass ionomer cement

4) Light-cured glass ionomer cement

5) Composite curing*

136. As therapeutic Gasket materials are used Ca (OH) 2 . One of the forms of these materials are chelation  cements  .  They are  formed  by  adding  to  the  main  active  ingredient  of  a  particular component. What follows:

1) acid*

2) varnish

3) water

4) oils

5) monomer

137. The patient must carry out restoration of tooth 11 . What composite materials combine the properties at high mechanical strength, good color stability and high polishability ?

1) totally made*

2) Makronapolnennye

3) microfilled

4) Mininapolnennye

5) Hybrid with particulates

138.  There is a discoloration  of  the  crown  of  the  tooth  23.  Crown pink. From history revealed that this tooth root canals sealed with . Which of the filling materials causes similar changes color ?

1) Foredent*

2) Endomethasone

3) Evgedent

4) Viedent

5) Phosphate cement

139. What is the optimal exposure time needed for etching gel using modern adhesive systems ?

1) 30-35 seconds

2) 15-30*

3) 50-60 with

4) 60-90 with

5) 40-50 with

140. The first step when using a light-cured composites :

1) Selection of color shade material

2) Cleanliness operative field

3) Dissection cavity

4) Mechanical cleansing of the tooth surface of soft plaque*

5) Providing dry cavity by using koferdama

141.  Dentist  with  experience  of  8  years  in  office  therapeutic  dentistry  city  dental  clinic  on  the  1.0 rate. The department is equipped with modern dental equipment. What amount should perform UET dentist for 1 day of work ?

1) 25 UET*

2) 18 UET

3) 21 UET

4) 23 UET

5) 20 UET

142.  The  Department  of  Therapeutic  Dentistry  city  dental  clinic  are  receiving  patients  6  dental therapists. What number of staff units nurses ( nurse ) must be in the office ?

1) 3 bets nurses*

2) 1 tbsp. nurses

3) 2 tbsp. nurses

4) 2,5 st . nurses

5) 1.5 st . nurses

143. On the instructions of health management at the regional state administration you as a dentist , went to a rural area epidemiological study to identify the incidence of the population and the need for medical personnel. Select an indicator that displays the incidence of caries population :

1) Average number of cavities per 100 people , expressed as a percentage

2) Number of patients per 1,000 population

3) The number of cases per 10,000 population

4) Average number of cavities on one patient

5) Number of patients per 100 population expressed as a percentage*

144.  Young  dentist  city  dental  clinic  pointed  to  his  lack  of  preventive  examinations  magazine mouth.  Doctor  opposes  the  need  to  conduct  such  a  magazine.  What  records  are  not  required  to conduct in establishments II level ?

1) Required maintenance of all the listed documents*

2) Medical card dental patient

3) Leaf daily accounting of the dentist

4) Journal of Accounting preventive oral examinations

5) Diary records of the dentist

145.  You  work  with  a  group  of  WHO  experts,  which  conducts  epidemiological  study  region.  The purpose of the survey-determine the prevalence of dental diseases among the population. Specify that the indicator reflects the prevalence of periodontitis .

1) Number of patients with periodontitis 100 people

2) Number of patients with periodontal disease per 1,000 population*

3) The number of cases per 100 population Percentage

4) The number of cases per 10,000 population

5) The total number of cases in the region

146.  Dentist  who  works  in  a  private  office  and  treats  complicated  caries,  it  was  observed  that  in dental offices are not permitted to invasive treatments . At what level institutions industry standard permits the endodontic treatment ?

1) Only in specialized Endodontics

2) In the I-level institutions

3) In level II facilities

4) Only in level III facilities

5) In institutions of all levels*

147. According to Black to the III-rd class belong the carious cavities located on a surface:

1) To the contact incisors*

2) Contact premolars

3) Precervical incisors

4) Masticatory molars

5) Masticatory premolars

148. The carious cavity, located on the distal contact surface of the 36th tooth, according to the classification of Black belongs to the class:

1) I

2) III

3) II*

4) IV

5) V

149. In accordance with the classification of Black to the II-nd class belongs the carious cavities, located on:

1) To the contact surface of canines

2) To the contact surface of molars*

3) To the vestibular surface of molars

4) To the oral surface of incisors

5) To the lateral surface of incisors

150.  In  a  big  city  with  a  million  people  after the  reorganization  of  the  new  district  is  formed  .  To provide  dental  care  in  the  area  of open  dental  clinic  .  What  number  of  staff  positions  need  dental practitioner per 10,000 population ?

1) 3.5 positions

2) 5 posts

3) 4 posts*

4) 2 posts

5) 1 post

151. What is the optimal indication for amalgam fillings of cavities ?

1) Grade 5 by Black

2) Class 2 according to Black

3) Grade 4 by Black

4) Class 3 according to Black

5) Class 1 according to Black*

152.  Pick  the  stuff  you  put  on  the  bottom  of  cavity  25 years  patient  diagnosed  with  acute  deep caries .

1) Water dentin

2) Kaltsidont*

3) Resorcinol-formalin paste

4) hydrocortisone pasta

5) Phosphate cement

153.  Mixing  composite  filling  materials  were  used  glass  plate  and  a  metal  spatula.  What  are  the possible complications?

1) Rapid solidification of the composite material

2) Change the color of fillings*

3) insufficient adhesion

4) The composite material does not harden

5) Material is hygroscopic and will become brittle

154.  There is a chronic middle caries    of 24  tooth .  In the restoration process will be used adhesive system Generation IV . Specify the time of etching dentin and enamel in this case

1) 60 sec.

2) 10 sec.

3) 45 sec.

4) 30 seconds*

5) 20 sec.

155 .  There is a deep carious  cavity of  tooth  24 on  the  chewing  distal  surface . Dentin on the bottom and walls of dense, pigmented . Probing painless, weakly positive reaction to the cold . Which means it is advisable to put in the treatment of this patient to the bottom cavity ?

1) The paste containing the antibiotic

2) Zinc oxide-eugenol paste

3) Paraformnuyu paste

4) Phosphate-Cement*

5) Kaltsidont

156.  There is carius cavity of tooth  21, positive reaction to the cold and painful.  What plombirovovchny material should be used for data restoration of teeth :

1) compomer

2) hybrid composite*

3) Makrofilny composite

4) glass ionomer cement

5) silicate cement

157. On tooth 35 was delivered from silver amalgam fillings. There is pain after treatment. What are the negative properties of amalgam steel cause pain :

1) absence of adhesion

2) high thermal conductivity*

3) mercury toxicity

4) Prolonged hardening material

5) Toxic effect of oxides

158.  When  conducting  a  partial  necrectomy  deep  carious  cavities  on  the  bottom  odontotropnye applied  paste  ,  which  generally  contain  calcium  hydroxide  .  Which  therapeutic  pads  not  included this drug.

1) Reocar

2) Pulpomexine*

3) Dycal

4) Calcipulpe

5) Life

159.  There is a caries  tooth  16  was  chosen  curing  glass  ionomer  cement  .  What property  of  the  material most accurately reflects the choice made ?

1) The relative cheapness

2) Chemical compound to the tooth

3) Simplicity of preparation and filling

4) Does not require insulating spacer

5) protivokarioznoe action*

160 . There is a caries  of 33 tooth.  For  fillings  of  cavities  class  III  selected  light-curing  restorative material . What properties of the material provide this choice?

1) Single component system that does not require mixing

2) Around the seal does not develop secondary caries

3) Wide range of colors*

4) Does not require insulating spacer

5) Simplicity of preparation and filling

161.For sealing cavity 46 Class I selected tooth restorative material " Evikrol " filler having a particle size of from 1 to 50 microns. To what kind of composites include this stuff?

1) micro-hybrid composite

2) microfilled composite

3) hybrid composite

4) Makronapolnenny composite*

5) Universal micro-hybrid composite

162.  When  filling  cavities  2  class  by  Black  16  tooth  was  chosen  methodology  options  open  " sandwich technique." Which of glass ionomer cements to be used for replacement of dentin ?

1) Vitremer TC (3M)*

2) Aqua-Cem (Dentsply)

3) BaseLine (Dentsply)

4) Aqua-Jonobond (VOCO)

5) Vitrebond (3M)

163. There is a chronic middle 33 tooth caries . For the restoration of light-cured composite is selected . What insulating seal the best choice in this case?

1) phosphate cement

2) polycarboxylate cement

3) The adhesive system IV, V Generation*

4) glass ionomer cement

5) Zinc oxide-eugenol cement

164. There is  acute middle 41 tooth caries, on the medial  surface  of  the  tooth  with  a  cavity  of  decay  and  damage  to  the  medial  angle  of  the  cutting edge . What material is most appropriate to restore these defects ?

1) Makronapolnennym composite material

2) Microfilled composite material

3) Totalnovypolnennym composite material*

4) glass ionomer cement

5) Material based on acrylic resins and epoxy

165. There is a chronic middle 26 tooth caries. Obektivno: on the chewing  surface  of  the  tooth  26  carious  cavity  class  I  according  to  Black  .  As  a  permanent  filling material doctor chose silver amalgam . Which material is the best to use as insulating spacers ?

1) artificial dentin

2) Vinoksol

3) Friteks

4) Adgezor*

5) Vitacreme

166.  There is  Chronic  deep  caries  tooth  11  ."For  treating physician chose a light-cured material "Valux Plus". What medical pad you choose .

1) Calcimol*

2) Evgedent

3) Kariosan

4) Phosphate cement

5) Visfat cement

167.  There is an  acute  middle  42  tooth caries.  For  treating physician chose a light-cured material " Charisma " . What insulating gasket you choose ?

1) Adgezor

2) Dioksivisfat

3) Phosphate cement

4) Base Line*

5) Unifas

168.There was treated  tooth 45 with pulpiti . As a permanent seal elected composite light curing . For the temporary closure of cavities after the first visit is not recommended :

1) Bezevgenolnuyu Dentin paste

2) Water dentin

3) Zinc phosphate tsment

4) glass ionomer cement

5) Evgenolsoderzhaschuyu Dentin paste*

169. There was carried filling cavity 33 tooth with a light-curing composite material . Should take place when the illumination of finishing material ?

1) After making each dose

2) After the last dose

3) After the contouring seals

4) After finishing filling*

5) After the grinding fillings

170.  There is a chronic  middle  32  tooth  caries  .  From  history revealed that the patient stimulator set heart rate . Elect the best material for making permanent seal.

1) The composite light polymerization process

2) The composite chemical polymerization process*

3) compomer

4) Hybrid glass ionomer cement

5) silicate cement

171. There isa  middle caries on approximal tooth surfaces 45 (Class 2 according to Black ) . What group of composite materials most appropriate to use for restorations ?

1) Mikrofilirovannye

2) Makrofilirovannye

3) The micro hybrid*

4) Minifilirovannye

5) Makrogibridnye

172.  There is an  acute  deep  caries  tooth  31  .  For  the  restoration  of  elected  light-cured composite material . Not recommended for use as a medical pads :

1) Calcium-containing aqueous preparation " Kaltsipulp "

2) Salicylate drug "Dycal"

3) Photopolymer material based on calcium hydroxide

4) Zinc oxide-eugenol cement " Kariosan "*

5) Kalmetsin

173. There is an acute middle 46 tooth caries , I class on Black. After preparation of the  bottom  of  the  cavity  insulating  gasket  set-glass  ionomer  cement.  Specify  the  type  of  glass-ionomer cement used for insulating gaskets ?

1) fixing

2) restoration

3) sealing

4) sealing

5) Laynerny*

174.There is an acute deep caries tooth 46 . In the treatment of tooth 46 was used calcium-paste. Specify the actions that have such therapeutic pads .

1) Anti-inflammatory, desensitizing

2) Antimicrobial, desensitizing

3) Antimicrobial, anti-inflammatory

4) Anti-inflammatory, odontotropnym*

5) Antimicrobial, odontotropnym

175.  There is a  chronic  middle  caries  36.  Class  II  cavity  on  Blake with the defeat of the chewing surface. What material is the doctor chose to seal ?

1) glass ionomer cement

2) Silico-phosphate cement

3) Light curing flowable

4) Mikrofilny composite light curing

5) Hybrid composite light curing*

176. Recovery  21  tooth  crowns doctor  decided  to  perform  using  sandwich  technique.  What  is  the  best  filling  material  to  form  the basis of restoration ?

1) glass ionomer cement*

2) phosphate cement

3) calcium-containing material

4) polycarboxylate cement

5) Zinc oxide-eugenol cement

177. As  a  therapeutic  pad  was  used  zinc-eugenol  paste, permanent  filling  of  Evikrola  .  What  impact  evgenolsoderzhaschie  materials  fillings  made of composite materials ?

1) Inhibit the polymerization process*

2) Violate adhesion to hard tissues of the tooth

3) Change the color of fillings

4) Reinforce shrink seals

5) Violate the mechanical strength

178. There is a chronic middle caries tooth 12  (V  class  on  Blake  )  .  Which  filling  material  is contraindicated for use in this case?

1) light-cured composite*

2) Composite curing

3) Curing glass ionomer cement

4) mineral cement

5) polycarboxylate cement

179. In patients after clinical examination was diagnosed as chronic deep caries tooth 15. Which is better to use filling material to restore the anatomical tooth shape ?

1) composite material*

2) silicate cement

3) glass ionomer cement

4) compomer

5) polycarboxylate cement

180. As a result of cavity preparation class 1 in 17 tooth you got a cavity with thin walls . Which of the following materials to restore the anatomical shape of the tooth should be used after setting the insulating spacer :

1) composite*

2) amalgam

3) Silitsin

4) Bactericidal phosphate cement

Glass ionomer cement E.

181. There is an acute pulpitis limited 16 tooth. Treatment is carried out in one visit by vital  amputation. Which of the  following is preferable to use pastes to cover the amputation stump :

1) Paste containing proteolytic enzymes

2) vitamin-paste

3) Gormonosoderzhaschuyu paste

4) Paste containing antibiotics

5) calcium-paste*

182.  There is a   chronic  fibrous  pulpitis  34  teeth  .  Conducted preparation  ,  pulpectomy  ,  mechanical  and  pharmacological  treatment  channels.  As  necessary  to carry out root canal filling ?

1) the apex

2) Sealing is not necessary

3) Before radiologic top

4) Prior to the anatomical apex

5) Prior physiological apex*

183.  There was  performed  root  canal  procedure  center  pin  ( standard  gutta-percha  )  . Selection is carried out according to its :

1) Size Last endodontic instrument to expand the apical part of the root canal*

2) The lengths of the root canal , identified radiographically

4) Length 15-17 mm

5) According to the usual length of a tooth

6) The close fit to the walls of the root canal

184. There was treatment of exacerbation of chronic pulpitis 11 tooth by vital extirpation . The doctor spent obturation channel by lateral condensation . Which of these materials are used as filler ?

1) gutta-percha points*

2) Sealapex

3) Apexit

4) Tsinkevgenolovy cement

5) Endometazon

185.  Which  material  is  the  most  effective  at  sealing  tooth  21  into  the  channel  in  the  event  of perforation in the apical third of the root?

1) Siller with CaOH (apexit, sealapex)

2) amalgam

3) Zinc oxide-eugenol cement

4) glass ionomer cement*

5) phosphate cement

186. There waa treatment  of  acute  pulpitis  limited by  vital  extirpation  doctor revealed that 25 tooth has a direct channel . Which option root canal filling should be considered the best?

1) Excretion of radiological material for top 1 mm

2) Filling up the anatomical apex

3) Root canal filling to radiographic apex of root

4) Nedoplombirovanie channel 3 mm

5) Filling the channel to the physiological narrowing of the root*

187.  During the preparation of the tooth cavity point perforation occurred at the bifurcation of the roots. Which of filling materials can be used for replacing a defect in the case where there are no other options?

1) silikofosfatnye cement

2) silicate cement

3) amalgam*

4) composite material

5) polycarboxylate cement

188.  After  applying devitalization means  tooth  closed  airtight bandage.  What  is  a  temporary  filling  material  is  used ?

1) Dentin Pasta

2) citron

3) Zinc oxide-eugenol cement

4) Water dentin*

5) Zinc phosphate cement

189.  There was treated  chronic  fibrous  pulpitis  25  tooth  by  vital  extirpation  .   Which  of  the  following  tools should be used at stage 1 ?

1)H-file

2) K-file*

3) Septic-H-file

4) rasp

5) Bor Gates-Glidden

190. There is  diagnosed  with  chronic  hypertrophic  pulpitis  16  tooth  . As necessary to carry out canal filling ?

1) Before radiologic top

2) the apex

3) Until anatomichesknoy top

4) Prior physiological apex*

5) Not reaching 0.5 cm to the top

191.There was treted chronic  fibrous pulpitis 37 tooth  by non-vital extirpation. Complete  extirpation  of mesial-buccal    channel  could  not  be  held  .  Choose  the  best  material  for  filling  root canals in this clinical situation .

1) AN-plus

2) Biokaleks

3) Foredent*

4) Phosphate-Cement

5) Endometazon

192.  There was treated  of chronic  gangrenous  pulpitis  47  tooth  combination method  .  Which  of  the  following  is  necessary  to  use  pastes  for  application  to  the  mouth  of  the channel impassable ?

1) Kariosan

2) Apeksid

3) Pulpomeksin

4) Resorcinol-Formalin*

5) Sialapeks

193. In the treatment of acute pulpitis by vital extirpation at which level obturate root canals ?

1) Filling the channel to the physiological narrowing of the root*

2) Output material for anatomical apex 1mm

3) Filling the channel to the anatomical root apex

4) Root can al filling to radiographic apex of root

5.) Filling the channel beyond the apex with the conclusion of the filling material .

194. In case of accidental opening of the pulp cavity used method of direct pulp capping treatment gasket  calcium  hydroxide  delayed  filling  of  .  Which  of  the  recalculated  treatment  pads  shown  in such cases?

1) Linoment (VOCO)

2) calcium gluconate

3) Ca-D3-nikomed

4) Calcicur (VOCO)*

5) calcium chloride

195.  What  is  the  optimal  level  of  root  canal  filling  of  tooth  45  in  the treatment  of  chronic  fibrous pulpitis by vital extirpation of the patient 30 years?

1) Prior to the anatomical apex

2) With breeding material for apex

3) Before radiologic top

4) Output material for anatomical apex 1mm

5) To the physiological apex* .

196. There is  acute  purulent  periodontitis  tooth  45  .  Held  : preparation , removal putridnyh masses, mechanical and pharmacological treatment of root canals . As necessary to carry out root canal filling ?

1) Prior to the anatomical apex*

2) Prior physiological apex

3) Before radiologic top

4 the apex

5). Not reaching 0.5 cm to the top

197. There was treated of chronic fibrous  pulpitis 36 tooth . Root canals  significantly  curved  and  have  a  few additional  branches.  What  method  of  root  canal obturation of these is optimal at this stage?

1) Using the " Thermafil "

2) Resorcinol-formalin impregnation*

3) Silvering root canals

4) Filling of root canals in combination with silver studs

5) Method of cold condensation of gutta-percha

198. There was treated acute diffuse pulpitis 43 tooth by vital extirpation . To what level should be sealed root canal ?

1) physiological top*

2) anatomical apex

3) radiographic apex

4) With breeding material for apex

5) Irrelevant

199.  There is an acute  diffuse  pulpitis  45  tooth.  Was  conducted  :preparation  ,  pulpectomy  .  Specify  what  should  be  the  working  length  of  the  root  canal  during endodontic treatment of the tooth.

1) At 1,0-1 , 5 mm less radiographic root length*

2) At 1,0-1 , 5 mm more radiographic root length

3) 0.5-1 0 mm less radiographic root length

4) is included in the narrow and curved canals

5) Strong and easily recovered in the channel Ye have the same shape as tools for root canals

200. There is chronic periodontitis fibrotic 16 tooth necessary to pharmacological treatment of root canals. Select the best method by :

1) endodontic syringe*

2) paper pin

3) needles

4) water pistol

5) Cotton turundy the root needle

ANSWERS TO TEST JOB IN SECTION

" Propaedeutics Therapeutic dentistry »

| 1 | 2 | 21 | 1 | 41 | 2 | 61 | 4 | 81 | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | 2 | 22 | 1 | 42 | 1 | 62 | 3 | 82 | 2 |
| 3 | 2 | 23 | 3 | 43 | 1 | 63 | 4 | 83 | 4 |
| 4 | 2 | 24 | 1 | 44 | 2 | 64 | 3 | 84 | 1 |
| 5 | 1 | 25 | 1 | 45 | 1 | 65 | 2 | 85 | 3 |
| 6 | 3 | 26 | 1 | 46 | 4 | 66 | 3 | 86 | 5 |
| 7 | 3 | 27 | 1 | 47 | 5 | 67 | 4 | 87 | 3 |
| 8 | 2 | 28 | 1 | 48 | 3 | 68 | 3 | 88 | 4 |
| 9 | 5 | 29 | 1 | 49 | 5 | 69 | 1 | 89 | 3 |
| 10 | 1 | 30 | 1 | 50 | 3 | 70 | 1 | 90 | 4 |
| 11 | 2 | 31 | 2 | 51 | 3 | 71 | 5 | 91 | 4 |
| 12 | 1 | 32 | 2 | 52 | 3 | 72 | 4 | 92 | 2 |
| 13 | 4 | 33 | 5 | 53 | 4 | 73 | 2 | 93 | 4 |
| 14 | 3 | 34 | 1 | 54 | 5 | 74 | 4 | 94 | 3 |
| 15 | 2 | 35 | 1 | 55 | 5 | 75 | 3 | 95 | 2 |
| 16 | 5 | 36 | 1 | 56 | 1 | 76 | 1 | 96 | 4 |
| 17 | 2 | 37 | 2 | 57 | 2 | 77 | 2 | 97 | 3 |
| 18 | 5 | 38 | 2 | 58 | 2 | 78 | 4 | 98 | 4 |
| 19 | 3 | 39 | 5 | 59 | 3 | 79 | 2 | 99 | 4 |
| 20 | 1 | 40 | 1 | 60 | 5 | 80 | 3 | 100 | 3 |

| 101 | 2 | 121 | 1 | 141 | 1 | 161 | 4 | 181 | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 102 | 4 | 122 | 3 | 142 | 1 | 162 | 1 | 182 | 5 |
| 103 | 2 | 123 | 4 | 143 | 5 | 163 | 3 | 183 | 1 |
| 104 | 3 | 124 | 2 | 144 | 1 | 164 | 3 | 184 | 1 |
| 105 | 3 | 125 | 4 | 145 | 2 | 165 | 4 | 185 | 4 |
| 106 | 1 | 126 | 4 | 146 | 5 | 166 | 1 | 186 | 5 |
| 107 | 2 | 127 | 1 | 147 | 1 | 167 | 4 | 187 | 3 |
| 108 | 1 | 128 | 3 | 148 | 3 | 168 | 5 | 188 | 4 |
| 109 | 1 | 129 | 5 | 149 | 2 | 169 | 4 | 189 | 2 |
| 110 | 4 | 130 | 3 | 150 | 3 | 170 | 2 | 190 | 4 |
| 111 | 2 | 131 | 4 | 151 | 5 | 171 | 3 | 191 | 3 |
| 112 | 5 | 132 | 3 | 152 | 2 | 172 | 4 | 192 | 4 |
| 113 | 2 | 133 | 4 | 153 | 2 | 173 | 5 | 193 | 1 |
| 114 | 5 | 134 | 2 | 154 | 4 | 174 | 4 | 194 | 4 |
| 115 | 4 | 135 | 5 | 155 | 4 | 175 | 5 | 195 | 5 |
| 116 | 4 | 136 | 1 | 156 | 2 | 176 | 1 | 196 | 1 |
| 117 | 2 | 137 | 1 | 157 | 2 | 177 | 1 | 197 | 2 |
| 118 | 1 | 138 | 1 | 158 | 2 | 178 | 1 | 198 | 1 |
| 119 | 2 | 139 | 2 | 159 | 5 | 179 | 1 | 199 | 1 |
| 120 | 5 | 140 | 4 | 160 | 3 | 180 | 1 | 200 | 1 |